Summerfield Townhouse HOA #5

Board of Directors Meeting:

Maintenance Report

# January 09, 2024

# Time: 4:00 PM

Lamp Post

9520

Owner contacted Peter saying light was falling over. Peter checked out, only to find that there was a mechanical issue with this post lamp. Made a quick fix to keep lamp on top of post. The next day I requested Larry’s help in repairing the malfunctioning lamp. After testing the assembly in the shop, it was determined that the lamp assembly was working properly. We then focused on the photo sensor. In replacing the sensor, we found that the electronical box was misaligned with the vinal siding which did not allow the new, larger sensor to fit in the electrical box correctly. * We had to manipulate* the box so the new sensor would fit. The new sensor and lamp were confirmed working with a nighttime walk by.

9540

Owner reported the lamp was not operating. Found that photo sensor needed replacing. When replacing sensor, we found that the electrical box was again offset with the siding. Again, we had to manipulate* the box so the new sensor would fit.

9560

When checking for correctly working lamps at 9520 and 0540 we found that the lamp at 9560 was not working. Replaced the light bulb and lamp worked fine.

*	At some point the siding misalignment with the electrical sensor box should be checked in each unit and fixed if needed.

Respectively:

Landscape VP